ONR Technical Inspection Guide (TIG) LC8 Warning Notices

# Introduction

Technical Inspection Guides (TIGs) assist inspectors in making regulatory judgments and providing advice on Licence Conditions (LCs). Most LCs are goal setting, leaving the specifics of arrangements to the dutyholder, who is ultimately responsible for safety.

LC8 however does not formally require the licensee to make and implement adequate arrangements, along with LC9 [1], is more prescriptive, using the term ‘shall ensure’.

This guidance provides a framework for inspectors to judge compliance with LC8 – Warning Notices, it is neither exhaustive nor mandatory. It is closely related to LC9 (Instructions to persons on the site) and LC11 (Emergency arrangements).

Inspectors should also refer to the ONR procedure on Risk-Informed and Targeted Engagements (RITE) [2], which guides risk-based prioritisation in regulatory interventions and supports decisions on engaging with dutyholders.

# LC8 – Warning Notices

The licensee shall ensure that suitable and sufficient notices are kept on site for the purposes of informing persons thereon of each of the following matters, that is to say:

- the meaning of any warning signal used on the site;

- the location of any exit from any place on the site, being an exit provided for use in the event of an emergency;

- the measures to be taken by such persons in the event of fire breaking out on the site or in the event of any other emergency.

- and that such notices are kept posted in such positions and in such characters as to be conveniently read by those persons.

# Purpose and outcomes of LC8

The purpose of LC8 is to ensure the safety of all people on the site in respect of their ability to be able to respond appropriately and without delay to an incident or emergency situation.

The regulatory outcomes being sought are:

Warning notices are in appropriate places to advise people what to do or what to avoid in that area in the event of an emergency.

Warning notices and signals are sufficient to enable persons in the event of an emergency to respond in the right way and without undue delay.

Warning notices and signals have been determined from the relevant hazards (from on and any adjacent site) under normal operations and potential emergencies.

Warning notices mark exit routes, emergency equipment and mustering points and have a system for logging the location and for the periodic checking of notices in place.

This LC focuses on emergency situations such as fire, site emergencies including criticality and chemotoxic hazards. Other hazard warning signs, like those for noise or flammables, fall under separate legislation.

While LC8 does not require formal arrangements, it places an absolute legal duty on the licensee to provide suitable and sufficient emergency warning notices. This requirement is not qualified by reasonable practicability. 
LC8 aligns with other statutory duties related to emergency response and major hazards, including:

The Health and Safety (Safety Signs and Signals) Regulations 1996 - Guidance on Regulations

The Regulatory Reform (Fire Safety) Order 2005, Articles 14 and 16

The Control of Major Accident Hazards Regulations 2015

The Dangerous Substances and Explosive Atmosphere Regulations 2002, Regulation 8

The Control of Substances Hazardous to Health Regulations 2002, Regulation 13

# Guidance on inspection on LC8 warning notices

LC8 applies specifically to emergency warning notices, not all site warnings. Other hazards may require warning signs for local risks or specific tasks, but these typically fall under general Health and Safety legislation rather than LC8.

Inspectors should consider how notices are identified, produced, displayed, and maintained, including during disruptions such as outages.

To satisfy this condition, warning notices must be suited to both the hazard and location, and easily understood by staff, visitors, and contractors. 
If signals are referenced, they should be clearly seen or heard by those present. Signs should comply with the Health and Safety (Safety Signs and Signals) Regulations 1996 and, where appropriate, ISO 7010:2020.

Although arrangements are not referenced in the LC wording, a licensee should have a management system in place to demonstrate compliance with LC8; In this context the term arrangements is used to describe the formal management system that ensures suitable and sufficient notices are displayed on site for LC8 purposes.

The person, or management position, responsible for compliance with LC8 should be identified.

Arrangements should be readily available and reasonably up to date, signed by an appropriate senior manager and controlled under a system compliant with the requirements of LC17.

Arrangements should include a requirement for a schedule of warning notices to be kept that identifies the position and type of sign.

Arrangements should ensure that systems are in place for review, inspection and maintenance of warning signs.

Arrangements should ensure that the licensee has a process for identifying the warning signs required as derived from the hazards on their site or adjacent site(s).

Ensure there is a system for producing and displaying required notices. During inspections, confirm that necessary warning notices are present and appropriately located. Ask when warning alarms were last tested and review any related findings.

Examine the schedule of warning notices and confirm that it gives details of each notice written content, location and the required frequency of inspection and maintenance. Check the maintenance programme exceptions listing to establish there are none relevant to this licence condition and discuss as necessary with the responsible person identified in the arrangements.

The adequacy of warning notices should be assessed with regard to their intelligibility to the licensee’s staff and to visitors (for example, contractors’ personnel and their conformance with the specific sign legislation). 
Check that personnel on the site understand warning notices. Confirm by discussion with personnel, that they are aware of any potential hazards in the areas in which they are working as well as general site emergency systems.

Check on a sample basis a typical escape route by following only the signs posted. Discuss as necessary with the responsible person identified in the arrangements. Establish that muster points are identified and check that they are tested on a routine basis.

# References

| [1] | ONR, “NS-INSP-GD-009 - LC9 Instructions to Persons on Site,” [Online]. Available: https://prodonrgov.sharepoint.com/sites/HOW2Hub. |
| --- | --- |
| [2] | ONR, “ONR-RD-POL-002 - Risk Informed and Targeted Engagements (RITE) Policy,” [Online]. Available: https://prodonrgov.sharepoint.com/sites/HOW2Hub. |
| [3] | BSI, “BS EN ISO 7010:2020 - Graphical symbols on safety signs,” 2023. |

# Document control

Authored by: Nuclear Safety Inspector

Approved by: Head of Profession – Operational Inspection

Issue: 6.3

Published: October 2025

Next scheduled review: October 2030

Document reference: NS-INSP-GD-008

Revision commentary

| Issue | Description of update(s) |
| --- | --- |
| 6 | Routine update and review date extended. |
| 6.1 | Review date extended from Dec-23 to align with review of other related TIGs. |
| 6.2 | Minor content updates to Section 4. ‘Procedure’ replaced by ‘Arrangements’ in Section 5. Review date extended to March 2027. |
| 6.3 | Minor update - Document simplified and duplication removed, no change to outcomes or intent. |