ONR Technical Inspection Guide (TIG) LC24 – Operating Instructions

Contents

1.	Introduction	3

1.1.	Purpose	3

1.2.	Scope and applicability	3

2.	Licence Condition 24: Operating Instructions	3

3.	Purpose of the Licence Condition	4

4.	Guidance on arrangements for Licence Condition 24	4

5.	Guidance on inspection of arrangements and their implementation	6

References	8

Glossary	8

Document control information	9

# Introduction

- Many standard nuclear site licence conditions require, or imply, that licensees establish arrangements to meet regulatory obligations. ONR inspects compliance with both the licence conditions and the associated arrangements to judge their suitability and effectiveness. As most licence conditions are goal‑setting and do not prescribe detailed requirements, responsibility for defining and implementing appropriate arrangements rests with the dutyholder, who retains responsibility for safety.

## Purpose

To support compliance inspections, ONR produces a suite of guides to assist inspectors in making regulatory judgements on the adequacy of compliance and the safety of site activities. This Technical Inspection Guide (TIG) supports inspections in which inspectors assess the adequacy of licence condition arrangements and their implementation.

## Scope and applicability

This guide provides a consistent basis for Licence Condition (LC) 24 compliance inspections and supports inspectors when examining licensees’ arrangements in this area. The guidance is not intended to be comprehensive or mandatory.

# Licence Condition 24: Operating Instructions

- 24(1) The licensee shall ensure that all operations which may affect safety are carried out in accordance with written instructions hereinafter referred to as operating instructions.

- 24(2) The licensee shall ensure that such operating instructions include any instructions necessary in the interests of safety and any instructions necessary to ensure that any operating rules are implemented.

- 24(3) The licensee shall, if so, specified by ONR, furnish to ONR copies of such operating instructions and when any alteration is made to the operating instructions furnished to ONR, the licensee shall ensure that such alteration is furnished to ONR in such time as may be specified.

- 24(4) The licensee shall make and implement adequate arrangements for the preparation, review and amendment of such operating instructions.

- 24(5) The licensee shall submit to ONR for approval such part or parts of the aforesaid arrangements as ONR may specify.

- 24(6) The licensee shall ensure that once approved no alteration or amendment is made to the approved arrangements unless ONR has approved such alteration or amendment.

# Purpose of the Licence Condition

The purpose of LC24 is to ensure that all operations which may affect safety are undertaken in accordance with written operating instructions, prepared, reviewed and amended in accordance with arrangements made and implemented by the site. These instructions should ensure that safety‑related operations are adequately controlled and that operating rules are implemented.

Operating instructions should be clear, unambiguous and consistent with the safety case, its assumptions, and the operating limits and conditions. They should address normal operation and anticipated operational occurrences, including the storage and control of nuclear matter, radioactive material and waste, fuel handling, EIMT, and the control of work.

Instructions should reflect all operator actions necessary to ensure plant operability and the delivery of safety functions, including relevant design, equipment qualification and manufacturer requirements. Guidance on instructions for accident and emergency conditions is provided under other licence conditions (including LCs 11, 13(11), 23(3) and 28(8)), and may include emergency operating procedures, and for power reactors Symptom Based Emergency Response Guidelines (SBERGs) and Severe Accident Guidelines (SAGs) using event‑ or symptom‑based approaches.

Where appropriate, LC24(3), (5) and (6) provide ONR with the power to specify and approve arrangements for the production and amendment of operating instructions, and to require the licensee to furnish copies of specified instructions.

# Guidance on arrangements for Licence Condition 24

The licensee should establish and implement arrangements for the preparation, control, distribution, review, implementation, use and amendment of operating instructions to meet the requirements of LC24(4).

The arrangements should address all LC requirements and ensure that Operating Rules (LC23) are implemented through suitable and sufficient operating instructions, which are a key means of achieving compliance with operating limits and conditions [1].

The licensee should identify those responsible for ensuring operations are carried out in accordance with approved operating instructions.

The arrangements should ensure that all operational activities that may affect safety are covered by approved written instructions, consistent with the definition of operations in LC1, and applicable to all plant modes, configurations and conditions, including start‑up, operation and shutdown.

The arrangements should require that work undertaken in accordance with operating instructions, its outcomes, and any adverse conditions identified are recorded and addressed in accordance with this and related licence conditions.

Operating instructions should include appropriate controls for work on structures, systems and components (SSCs) that may affect safety, and align with associated work management processes, including hazard and risk assessment, job briefings and critical task expectations.

The production of operating instructions should comply with an appropriate quality management system in accordance with LC17 and, where applicable, relevant guidance [2] [3].

Amendments should be documented and assessed in accordance with LCs 14 and 22 to identify impacts on nuclear safety and processed through the LC22 modification process where required.

The arrangements should ensure that those involved in the preparation, control, review, implementation and amendment of operating instructions are Suitably Qualified and Experienced Persons (SQEP) and receive appropriate training in line with LCs 10, 12 and 26.

The arrangements should also ensure that failures to comply with operating instructions are detected and reported, and that inaccurate instructions identified through EIMT or operational feedback are amended and reissued in a timely manner.

# Guidance on inspection of arrangements and their implementation

- This section supports inspectors in judging the adequacy of the licensee’s LC24 arrangements and their implementation. The list below is not exhaustive and may be updated in light of operational experience, but identifies aspects of LC24 compliance that may be examined during routine, sample‑based inspections.

Inspectors should consider confirming that arrangements made under LC 24(4) are identified within the licensee’s document management system, meet QMS requirements, are current, and have clear responsibilities assigned. Where operating instructions have been specified under LC24(3) and (5), inspectors should confirm that they are appropriately highlighted and controlled to minimise the risk of non‑compliance.

Inspectors should check that adequate arrangements are in place to direct staff to the correct operating instructions and to ensure awareness of relevant temporary and permanent changes. A sample of amended operating instructions should be reviewed to confirm that changes with potential nuclear safety implications have been appropriately processed through the LC22 modification process, and that amendments remain consistent with the safety case, operating limits and conditions, and QMS arrangements.

Inspectors should also confirm that suitable and sufficient resources are provided to support LC24 compliance, that operating instructions are reviewed in accordance with the licensee’s arrangements, and that any backlog of documents awaiting modification, review or validation is being managed to ensure associated risks are reduced ALARP [4].

Inspectors should review logs and other records for evidence of non‑compliance with operating instructions and follow up events with the relevant manager or individual. They should confirm that the requirements of LC7 and other relevant licence conditions have been addressed and that events have been managed in accordance with the licensee’s arrangements. Where appropriate, inspectors should also confirm that operating instructions have been amended to reduce the risk of future non‑compliance.

- Inspectors should consider reviewing a sample of operating instructions to confirm that they have been prepared, reviewed, implemented and amended by SQEP personnel who are appropriately trained and supported. Instructions should be clear and unambiguous, clearly describe task execution, and include necessary prerequisites, checks, precautions and safety actions.

- Operating instructions should be consistent with the safety case, associated operating limits and conditions, and the licensee’s arrangements. Inspections should also take account of the LC 23 inspection guidance [5], as operating instructions are a key means of implementing operating rules.

- Instructions should consider potential adverse effects on plant hazards and, where necessary, assess impacts on operational risk using appropriate methods. They should include activities affecting systems, structures and components (SSCs) relevant to safety, and ensure safety functions can be delivered, including through appropriate redundancy, diversity and back‑up or stand‑by provisions.

- Operating instructions should promote conservative actions and provide information necessary to recover from abnormal conditions, including malfunctions, faults or failures encountered during task execution.

- Where instructions form a single tier within a hierarchy, they should provide an appropriate margin of safety to higher‑tier instructions, contributing to defence in depth. For a more detailed discussion of the applicability of operating instructions as part of a defence-in-depth approach, refer to Appendix 5 of [1].

- Where appropriate, operating instructions should define how plant is returned to the safe operating envelope if found to be outside safety case limits and conditions or other procedural requirements. Instructions should also support operation remaining ALARP in line with relevant guidance [4].

- Inspectors should consider a workplace or on‑plant review to confirm that personnel have access to the correct operating instructions at the work face and that these are used appropriately.

Personnel should understand the conditions for use, the licensee’s expectations for procedure adherence, and the actions to take if errors or ambiguities are identified.

Inspectors should walk or talk through sections of operating instructions to confirm that the format and content are suitable for the task and work environment, that risks from human error are minimised, and that arrangements for recording and requesting amendments are understood and applied. Contractors should be included where they undertake operations on SSCs that may affect safety.

# References

| [1] | ONR, “NS-TAST-GD-035 - Limits and Conditions for Nuclear Safety (Operating Rules)”. |
| --- | --- |
| [2] | IAEA, “Safety Standards Series No. SSG-70 - Operational Limits and Conditions and Operating Procedures for Nuclear Power Plants,” 2022. |
| [3] | ONR, “NS-TAST-GD-060 - Procedure Design and Administrative Controls”. |
| [4] | ONR, “NS-TAST-GD-005 - Guidance on the Demonstration of ALARP (As Low As Reasonably Practicable)”. |
| [5] | ONR, “NS-INSP-GD-023 - LC23 Operating Rules”. |

# Glossary

| Term/Acronym | Definition |
| --- | --- |
| Operating Rules | The limits and conditions derived in the facility safety case necessary to keep the plant within constraints that ensure the safety of the facility during normal operation and in abnormal or accident conditions. |
| Safety Measure | A safety system, or a combination of procedures, operator actions and safety systems that protects against a radiological consequence, or a specific feature of plant designed to prevent or mitigate a radiological consequence by passive means. Refer to [1] for more detailed information on safety measures, safety limits and safety systems. |

# Document control information

Approved by – Head of Profession for Operational Inspection

Issue: 7.1

Published: March 2026

Next scheduled review: October 2027

Document reference: NS-INSP-GD-024

Record reference: ONRHH-822789359-20501

Revision commentary

| Issue | Description of update(s) |
| --- | --- |
| 7 | Updated to include references to NS-TAST-GD-035 and NS-INSP-GD-023. |
| 7.1 | Minor update to reduce word count and update to the latest TIG format, no changes to the context or the intent. |

Template reference: ONR-DOC-TEMP-003

For an in-depth LC24 inspection, the site inspector should also consider requesting Fault Studies Specialist support to determine if the operating instructions sampled are consistent with the safety case and also that any pertinent operating limits and conditions are correctly implemented by use of the operating instructions.