Office for Nuclear Regulation (ONR)
Site Report for
Chapelcross

Report for period 1 October 2022 – 31 December 2022

Foreword
This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Chapelcross Site Working Group meeting and are also available on the ONR website (http://www.onr.org.uk/llc/).
Site inspectors from ONR usually attend SSG Working Group meetings where possible and these reports are presented and the inspectors will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Table of Contents

Inspections
  1. Dates of Inspection
ONR’s inspectors made inspections on the following dates during the period 1 June 2022 – 30 September 2022
5 to 7 December 2022
Routine Matters
  1. Inspections
Inspections are undertaken as part of the process for monitoring compliance with:
- the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);
- the Energy Act 2013;
- the Health and Safety at Work etc Act 1974 (HSWA74); and
- regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).
The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.
In this period, a routine inspection was carried out at site on 5 to 7 December, focussed on the new Medium Active Effluent Treatment Plant (MAETP) and an emergency exercise.
The MAETP plant was inspected jointly with SEPA on 6h December 2022. The MAETP is a dual-purpose effluent treatment plant consisting of two 5000 gallon storage tanks and three modified ISO type containers which house the connecting headers and cross over pipework, a filtration module and an ion exchange unit respectively. The unit is sited at the North West of the ponds building in line with the discharge pipeline. It is designed to batch process 5,000 gallon bowsers of water and then discharge the treated water via the existing pipeline.
ONR was satisfied that the design of the units conforms to industry good practice and that the safety systems were adequate for their requirements.

Emergency exercise Goldcrest was undertaken on the 7 December with a scenario involving an accident during a bowser operation at the MAETP with a spill of 500 gallons of pond water. ONR was satisfied that appropriate command and control was exercised during the incident and a good demonstration of emergency response was delivered by the response team.
ONR undertook a walkdown of reactor building 2 and reviewed the condition of the plant. The visit took in the pile cap and several of the floors down to ground level. There was no evidence of excessive rusting and there was little evidence of wildlife ingress. Most of the plant and equipment remains in-situ and is in good condition.
Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site Intervention Reports at www.onr.org.uk/intervention-records on our website www.onr.org.uk.
Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

  1. Other Work
Throughout this reporting period, ONR’s nominated site safety inspector has held regular telephone meetings with Chapelcross leadership team representatives to maintain situational awareness of matters related to nuclear safety. No significant issues were highlighted to ONR.
Non-Routine Matters
Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.
The site is awaiting the environmental permit variation to allow pond decommissioning work to re-start following the unplanned release of C14 from the AVDS stack. This is a matter for SEPA and is not under ONR control.

Regulatory Activity
ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.
No formal enforcement or permissioning was undertaken during this period.

News from ONR
For the latest news and information from the Office for Nuclear Regulation, please read and subscribe to our regular email newsletter ‘ONR News’ at www.onr.org.uk/onrnews

Contacts
Office for Nuclear Regulation
Redgrave Court
Merton Road
Bootle
Merseyside
L20 7HS
website:	www.onr.org.uk
email:	Contact@onr.gov.uk
This document is issued by the Office for Nuclear Regulation (ONR). For further information about ONR, or to report inconsistencies or inaccuracies in this publication please visit http://www.onr.org.uk/feedback.htm.
© Office for Nuclear Regulation, 2022
If you wish to reuse this information visit www.onr.org.uk/copyright.htm for details.
Published 02/23
For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.