|  |
| --- |
|  |
| ONR Site Report  Magnox Ltd – Sizewell A |



ONR Site Report

Magnox Ltd - Sizewell A

Report for period: 1 October – 31 December 2023

Authored by: ONR Nominated Site Inspector

Approved by: ONR Superintending Inspector – SDFW Division

Issue No.: 1

Publication Date: Jan-24

ONR Record Ref. No.: 2024/362

Foreword

This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Sizewell Stakeholder Group and are also available on the ONR website (<http://www.onr.org.uk/llc/>).

Site inspectors from ONR usually attend Sizewell Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Contents

[1. Inspections 4](#_Toc124509190)

[2. Routine Matters 5](#_Toc124509191)

[3. Non-Routine Matters 7](#_Toc124509192)

[4. Regulatory Activity 8](#_Toc124509193)

[5. News from ONR 9](#_Toc124509194)

[6. Contacts 9](#_Toc124509195)

# Inspections

## Date(s) of Inspection

An inspection was carried out on 14th November 2023.

# Routine Matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

* the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);
* the Energy Act 2013
* the Health and Safety at Work etc Act 1974 (HSWA74); and
* regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Sizewell A covered the following:

* LC7 – Incidents on the site

This inspection, which was rated “green” under the ONR Inspection Rating Guide, judged the adequacy of the site’s arrangements and their implementation against the expectations associated with LC7. The inspection was devised to examine how the dutyholder ensures that relevant learning is embedded within the organisation and to determine if improvements to the Operational Experience and Feedback (OEF) arrangements have been maintained. The inspection concluded that Sizewell A has a mature set of arrangements for LC7, and that they are being implemented adequately on site. The site is continuing to make improvements in this area, and there was an increased focus on event examination, trending and action resolution.

Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site Intervention Reports at [www.onr.org.uk/intervention-records](http://www.onr.org.uk./intervention-records) on our website [www.onr.org.uk](http://www.onr.org.uk).

Should you have any queries regarding our inspection activities, please email [contact@onr.gov.uk](mailto:contact@onr.gov.uk).

## Other Work

The site inspector attended site to meet with various members of the site team, and to receive updates on various projects.

# Non-Routine Matters

Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory Activity

ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an Enforcement Notice.

* No LIs, Enforcement Notices or Enforcement letters were issued during this period.

# News from ONR

For the latest news and information from ONR, please read and subscribe to our regular email newsletter ‘ONR News’ at [www.onr.org.uk/onrnews](http://www.onr.org.uk/onrnews).

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: [www.onr.org.uk](http://www.onr.org.uk)

email: [Contact@onr.gov.uk](mailto:Contact@onr.gov.uk)

This document is issued by ONR. For further information about ONR, or to report inconsistencies or inaccuracies in this publication please visit <http://www.onr.org.uk/feedback.htm>.

If you wish to reuse this information visit [www.onr.org.uk/copyright.htm](http://www.onr.org.uk/copyright.htm) for details.

For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.