ONR Site Report NNB Generation Company (HPC) Ltd – Hinkley Point C

ONR Site Report

NNB Generation Company (HPC) Ltd – Hinkley Point C

Report for period: 1 July – 30 September 2023

Authored by: HPC Nominated Site Inspector

Approved by: Head of HPC Regulation

Issue No.: 0

Publication Date: May 2024

ONR Record Ref. No.: 2023/0064554 (4.4.2.26077.)

Foreword

This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Community Forum and are also available on the ONR website (http://www.onr.org.uk/llc/).

Site inspectors from ONR usually attend Community Forum meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Contents

1.	Inspections	4

2.	Routine Matters	5

3.	Non-Routine Matters	7

4.	Regulatory Activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of Inspection

The ONR site inspectors made inspections on the following dates during the report period:

14-15 July

19 July

23 July

25-26 July

08 August

15-17 August

22-25 August

12 September

13-14 September

21 September

26 September

# Routine Matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Hinkley Point C (including an unannounced out of hours weekend inspection) covered the following:

plant construction and/or commissioning;

emergency preparedness;

quality assurance and records;

organisational capability, including the function of the internal regulator;

conventional (non-nuclear) health and safety, including life fire safety; and

security.

Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site inspection records at www.onr.org.uk/inspection-records on our website www.onr.org.uk.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other Work

ONR continues its engagement with the dutyholder via regular site visits and meetings at NNB Generation Company (HPC) Ltd’s (NNB GenCo) offices and supplier locations across the following themes:

design and safety case;

organisational capability (including supply chain and quality);

pre-operations;

conventional health and safety and fire safety; and

security.

These inspections provide ONR with valuable intelligence on the progress NNB GenCo is making in developing its competence and capability to manage the design, procurement, and construction of HPC.

The site inspector held periodic meetings with safety representatives to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

# Non-Routine Matters

Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

Matters and events of particular note during the period were:

The investigations into the fatality that occurred on site in November 2022, and the separate event at site that resulted in a worker sustaining injuries as a result of a rebar mesh wall falling, continue.

# Regulatory Activity

ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice. There have been no such LIs or enforcement notices issued within the period of this report.

As a result of regulatory findings during an inspection monitoring adequacy of fire safety arrangements on the Hinkley Point C construction project, enforcement letters were sent to the licensee and to the Bylor Joint Venture to ensure that the identified shortfalls were remedied.

Reports detailing ONR regulatory decisions can be found on the ONR website at http://www.onr.org.uk/pars/.

# News from ONR

For the latest news and information from ONR, please read and subscribe to our regular email newsletter ‘ONR News’ at www.onr.org.uk/onrnews.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: www.onr.org.uk

email: 	Contact@onr.gov.uk

This document is issued by ONR. For further information about ONR, or to report inconsistencies or inaccuracies in this publication please visit http://www.onr.org.uk/feedback.htm.

If you wish to reuse this information visit www.onr.org.uk/copyright.htm for details.

For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.