ONR Site Report Nuclear Waste Services – Low Level Waste Repository

ONR Site Report

Nuclear Waste Services - Low Level Waste Repository

Report for period: 1 July 2023 – 31 March 2024

Issue No.: #

Publication Date: July 2024

Record Ref. No.: 2024/33192

Foreword

This report is issued as part of ONR's commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the West Cumbria Sites Stakeholder Group (WCSSG) Nuclear Waste Services (NWS) and are also available on the ONR website (http://www.onr.org.uk/llc/).

Site inspectors from ONR usually attend WCSSG NWS meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact ONR.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of inspection

The ONR site inspector made inspections on the following dates during the report period 1 July 2023 – 31 March 2024:

2 and 4 July 2023

8 August 2023

17 October 2023

28 February 2024

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of NWS covered the following:

waste acceptance criteria;

off-site public exposure inspection;

personnel security;

physical security;

organisational changes.

During the reporting period, ONR judged the arrangements made and implemented by the site in response to safety requirements to be satisfactory in the areas inspected. Where improvements have been identified, the licensee has made a commitment to address those issues, and ONR inspectors will closely monitor progress during future site inspections.

Members of the public, who would like further information on ONR’s inspection activities during the reporting period, can view site Intervention Reports at www.onr.org.uk/intervention-records on our website www.onr.org.uk.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

Throughout this reporting period, ONR’s nominated site safety inspector has held regular telephone meetings with LLWR Ltd leadership team representatives to maintain situational awareness of matters related to nuclear safety. No significant issues were highlighted to ONR.

Through a series of working level meetings between July 2023 and March 2024, ONR undertook assessments and a readiness review of LLWR’s transition into NWS. This included a formal inspection of arrangements and preparations, and a number of documents submitted under LC 36 (Organisational Capability) arrangements were examined. The assessments sought to gain confidence that the change was adequately conceived and that there was appropriate delineation and control of resources such that LLWR Ltd’s obligations under its site licence were preserved. On 24 January 2022, ONR wrote to LLWR Ltd confirming no objection to its proposals regarding organisational change. We noted however that the implementation of these changes would be monitored and that formal interventions to confirm compliance may be undertaken in the next operating year.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. ONR inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

ONR may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, ONR issues regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an Enforcement Notice.

No LIs, Enforcement Notices or Enforcement letters were issued during this period.

# News from ONR

For the latest news and information from ONR, please read and subscribe to our regular email newsletter ‘ONR News’ at www.onr.org.uk/onrnews.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: www.onr.org.uk

email: 	Contact@onr.gov.uk

This document is issued by ONR. For further information about ONR, or to report inconsistencies or inaccuracies in this publication please email mailto:contact@onr.gov.uk.

If you wish to reuse this information visit https://www.onr.org.uk/access-to-information/copyright/ for details.

For published documents, the electronic copy on the ONR website remains the most current publicly available version and copying or printing renders this document uncontrolled.

On 1 April 2024, Low Level Waste Repository changed its name to Nuclear Waste Services Limited