ONR site report Nuclear Restoration Services – Chapelcross

ONR site report

Nuclear Restoration Services - Chapelcross

Report for period: 1 April – 30 June 2025

Authored by: Nominated Site Inspector

Approved by: Head of Regulation Decommissioning, Fuel and Waste

Issue: 1

Published: July 2025

Record reference: 2025/25692

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Chapelcross Site Stakeholder Group and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Chapelcross Site Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

References	10

# Inspections

## Date(s) of inspection

Our site inspector made inspections on the following dates during the report period 1 April – 30 June 2025:

18-19 June 2025

The ONR Security inspector inspected the site on the following date:

29 May 2025

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Chapelcross covered the following:

Emergency preparedness inspection comprising witnessing the NRS contingency exercise.

Radiological protection inspection across the site.

Organisational learning for security.

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

Other routine matters discussed during this period included:

Decommissioning progress on the site.

Recent site safety matters.

## Other work

Throughout this reporting period, ONR’s nominated site safety inspector held regular meetings with Chapelcross leadership team representatives to maintain situational awareness of matters related to nuclear safety. No significant issues were raised with ONR.

The site inspector held a periodic meeting with safety representatives, to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

- The following licence instruments, enforcement notices and enforcement letters have been issued during the period. These letters were issued following the discovery of a fragile surface by a contractor during decommissioning activities on the site. An employee of the contractor (Altrad Services) was accessing a flat roof to construct a scaffold supporting future work. The employee stood on a surface which gave way under his foot exposing a hole. I issued enforcement letters to both NRS and the contractor to bring about improvement in the identification and management of fragile services.

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 31/03/25 | Enforcement Letter | ONR-EL-24-51 | Fragile Surface Incident – Altrad Services |
| 04/04/25 | Enforcement Letter | ONR-EL-24-50 | Fragile Surface incident – NRS |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.