ONR site report Devonport Royal Dockyard Limited – Devonport Royal Dockyard

ONR site report

Devonport Royal Dockyard Limited - Devonport Royal Dockyard

Report for period: 1 January – 30 June 2025

Authored by: Nominated Site Inspector

Approved by: Propulsion Head of Regulation

Issue: 1

Published: July 2025

Record reference: 2025/23904

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Devonport Local Liaison Committee (LLC) and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Devonport LLC meetings, where these reports are presented, and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of inspection

Our site inspector made inspections on the following dates during the report period 1 January to 30 June 2025:

7 January

5 March

11 March

25 June

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Devonport Royal Dockyard covered the following:

modifications to plant, equipment and safety cases

radiological protection

organisational changes

conventional (non-nuclear) health and safety

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

Other regular routine interventions with the site during the period covered:

annual site review of safety

follow-up to enforcement actions placed on the site related to compliance with nuclear site health and safety

current and future plant modifications and submissions to ONR

follow-up on safety management matters

## Other work

The site inspector held a periodic meeting with safety representatives to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 10/01/25 | Licence instrument | 570 | ONR agreement for DRDL to undertake the docking and associated deep maintenance period of a V-class submarine in 9 Dock |
| 14/01/25 | Licence instrument | 569 | ONR agreement for DRDL to undertake the docking and associated base maintenance period of an A-class submarine in 15 Dock |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.