ONR Site Report NRS Ltd – Sizewell A

ONR Site Report

NRS Ltd - Sizewell A

Report for period: 1 April – 30 June 2025

Authored by: ONR Nominated Site Inspector

Approved by: Head of Regulation – DFW

Issue: 1

Published: July 2025

Record reference: 2025/23891

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Sizewell Stakeholder Group and are also available on our website www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Sizewell Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	4

3.	Non-routine matters	6

4.	Regulatory activity	7

5.	News from ONR	8

6.	Contacts	8

References	9

# Inspections

## Date(s) of inspection

Our site inspector made inspections on the following dates during the report period 1 April – 30 June 2025:

No inspections were conducted during this period.

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

Members of the public, who would like further information on our inspection activities during the reporting period, can view site Inspection Records on our website: www.onr.org.uk.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

The site inspector attended site for a review of the recent work undertaken on site to demolish the turbine hall.

## Other work

A familiarisation site visit was carried out for the incoming nominated site inspector.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken; these are usually collectively termed ‘Licence Instruments’ (LIs) but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

No licence instruments, enforcement notices or enforcement letters were issued during this period.

# News from ONR

For the latest news and information from us, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

website: www.onr.org.uk

email: 	Contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication please email contact@onr.gov.uk.

If you wish to reuse this information visit  www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our  website remains the most current publicly available version and copying or printing renders this document uncontrolled.