ONR site report EDF – Hartlepool

ONR site report

EDF - Hartlepool

Report for period: 01 July – 30 September 2025

Authored by: Nominated Site Inspector

Approved by: Superintending Inspector

Issue: #

Published: November 2025

Record reference: 2025/39580

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Hartlepool Local Community Liaison Committee and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Hartlepool Local Community Liaison Committee meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	4

3.	Non-routine matters	6

4.	Regulatory activity	7

5.	News from ONR	8

6.	Contacts	8

References	9

# Inspections

## Date(s) of inspection

Our site inspectors attended site on the following dates during the report period 1 July – 30 September:

8-9 July

22-23 July

19-20 August

4 September

23-24 September

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections Hartlepool covered the following:

Classified documentation.

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

Our inspectors attended the onsite unit 1 restart meeting on 17 July. This was supported by several other virtual engagements to provide confidence in the readiness of the site to restart unit 1.

Our inspectors held several engagements with site regarding the unplanned unit 2 outage and the work required to bring the unit safely back to service.

Our inspectors attended site on 4 September to review the sites arrangements for governance oversight support and performance.

Enhanced attention - Our inspectors have attended engagements concerning the station’s plans and progress with identifying and addressing shortfalls that resulted with the site being place in enhanced attention earlier this year. This will be reviewed further in the planned site annual review meeting on 10-11 November. This will be covered in the next quarterly report.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

Matters and events of note during the period were:

Six reportable events occurred during the period.

Five Safety related

One Security related

ONR have reviewed these events and are satisfied that the site is taking appropriate action to address them.

The ONR investigation has continued during this period into the event on 14 May where an operator opened a wrong valve on a steam system.

ONR are currently in the process of formally handing over the nominated site safety inspector role at Hartlepool. This is anticipated to be complete by the end of November 2025.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 04/07/2025 | Improvement Notice | IN-25-17 | Steam event |
| 05/09/2025 | Licence Instrument | No 579 | Consent to restart reactor 1 |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.

# References

There are no sources in the current document.