ONR site report Ministry of Defence – Naval Reactor Test Establishment (NRTE) Vulcan

ONR site report

Ministry of Defence - Naval Reactor Test Establishment (NRTE) Vulcan

Report for period: 01 April – 31 December 2025

Authored by: Nominated Site Inspector

Approved by: Deputy DFW Head of Safety Regulation

Issue: #

Published: January 2026

Record reference: 2026/180

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Dounreay Site Stakeholder Group and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Dounreay Site Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

References	10

# Inspections

## Date(s) of inspection

Our site inspector made inspections on the following dates during the report period 1 April – 31 December 2025:

26 November 2025.

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Vulcan NRTE covered the following:

conventional (non-nuclear) health and safety - construction

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

The site inspector held a periodic meeting with safety representatives to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

The site inspector attended the Dounreay Stakeholder Group to provide an update on regulatory activities undertaken at NRTE Vulcan.

The site inspector attended a meeting on 27 November 2025 to discuss Project Saltus, the planned transfer of the Vulcan site from the Ministry of Defence to the Nuclear Decommissioning Authority.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 12/12/25 | Enforcement letter | EL-2413 | Issued to Rolls-Royce Submarines Ltd to address shortfalls in their arrangements for construction projects, specifically relating to planning, risk assessing and appointing CDM 2015 roles in order to comply with Construction (Design and Management) Regulations 2015, Regulations 4(1) and (2)(a) – ensuring suitable arrangements are in place for managing construction projects, specifically to ensure that construction work can be carried out, so far as is reasonably practicable, without risks to health or safety. No workers were harmed as a result of this shortfall. |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.

# References

There are no sources in the current document.