ONR site report BAE Systems Marine Limited – Devonshire Dock Complex

ONR site report

BAE Systems Marine Limited - Devonshire Dock Complex

Report for period: 1 July – 31 December 2025

Authored by:, Nominated Site Inspector

Approved by:, Superintending Inspector

Issue: 0

Published: January 2026

Record reference: 2025/0044882

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the BAE Systems Marine Limited (BAESML) Local Liaison Committee (LLC)  and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend BAE Systems Marine Limited (BAESML) Local Liaison Committee (LLC) meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	4

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	8

6.	Contacts	8

# Inspections

## Date(s) of inspection

Our site inspector undertook site-based inspections on the following dates during the report period. Regulation on this site is undertaken jointly with the Defence Nuclear Safety Regulator (DNSR), where appropriate:

23 July

17 September

Various additional site-based inspections were undertaken, including supporting joint interventions led by DNSR, including two operational readiness inspections (20 November and 10 December) and a two-day themed inspection (4 and 5 November). Additional details are provided below.

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections involve monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of the Devonshire Dock Complex covered the following:

emergency preparedness – on-site arrangements

emergency preparedness – Exercise Indigo 2025 - demonstration of emergency preparedness

operational readiness inspections to undertake activities defined by activity hold points for Boat 6 (Agamemnon) and Boat 7 (Achilles)

annual review of safety

follow-up work relating to safety culture

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

Our site inspector holds periodic meetings with safety representatives, to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

BAESML schedules regular regulatory interface forums (RIF) covering an overview of the build programmes, and improvements to the site safety cases and their implementation. The RIFs also cover regulatory issues progress and oversight of the site redevelopment project (SRP) work. This includes regulatory oversight of the construction of the new facilities on the licensed site. Our site inspectors attended these RIFs.

We undertook two operational readiness inspections jointly with DNSR to inspect activities defined by planned activity hold points for Boat 6 (Agamemnon) and Boat 7 (Achilles), during the period. We also supported a two-day themed inspection led by DNSR on active commissioning of Boat 6.  We provided concurrence to release both hold points early in 2026.

In September 2025, a team of our inspectors observed BAESML’s on-site emergency demonstration exercise INDIGO 25. They made observations about activities in the Nuclear Emergency Headquarters, Exclusion Zone Reception Centre, and the technical cell. They also provided observations about the deployed recovery and rescue teams. We ONR judged that this was an adequate demonstration of BAESML’s emergency arrangements.

We will continue to engage with BAESML to ensure the on-site emergency response demonstration presents sufficient challenge to the response teams and that elements tested in the demonstration are undertaken end-to-end, so far as is reasonably practicable.

We continue to engage with BAESML’s safety focus areas identified in its annual review of safety. In particular, jointly with DNSR, BAESML’s internal regulator and its lead trades union safety representative, we have been undertaking regular walkdowns of the facilities. This has involved engaging with the workforce to gain first hand feedback from them regarding the impact of changes introduced by BAESML both before and since the fire in Devonshire Dock Hall (DDH). These walkdowns provide useful intelligence to understand whether the initiatives being implemented by BAESML are providing the outcome it seeks form their workforce. These engagements are expected to continue into 2026, to gain confidence that any improvements implemented by BAESML are sustained and that the learning from the fire has been embedded.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period. Regarding our enforcement following the 30 October 2024 DDH fire:

## Fire in the Devonshire Dock Hall

Following our enquiries into the fire at DDH, we issued an enforcement notice (ONR-EN-25-01) to secure improvements to BAESML arrangements and training. During this period BAESML provided adequate evidence and assurance to us to permit the enforcement notice to be closed out within the period specified, as reported on our website <here>.

Due to ongoing investigations by the emergency services authorities, we cannot report further details on the fire itself at this time.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

No licence instruments, enforcement notices or enforcement letters were issued during this period.

Reports detailing regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.