ONR site report Urenco UK Ltd. (UUK) – Capenhurst Site

ONR site report

Urenco UK Ltd. (UUK) - Capenhurst Site

Report for period: 1 July – 31 December 2025

Authored by: Nominated Site Inspector

Approved by: DFW Head of Safety Regulation

Issue: 1

Published: January 2026

Record reference: 2025/43502

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Capenhurst Site Stakeholder Group (Parish Council Meeting) and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Capenhurst Site Stakeholder Group (Parish Council) meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	8

4.	Regulatory activity	10

5.	News from ONR	11

6.	Contacts	11

# Inspections

## Date(s) of inspection

ONR undertook rated inspections on the following dates during the report period 1 July – 31 December 2025:

1 - 2 September;

4 – 5 September;

25 – 26 September;

30 September – 2 October;

21 October;

19 November;

20 November; and

2 December.

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA1965) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA1974); and

regulations made under HSWA1974, for example, the Ionising Radiations Regulations 2017 (IRR2017), the Management of Health and Safety at Work Regulations 1999 (MHSWR1999) and the Control of Major Accident Hazards Regulations 2015 (COMAH).

regulations made under the Energy Act 2013, for example the Nuclear Industries Security Regulations 2003 and the Nuclear Safeguards (EU Exit) Regulations 2019.

The inspections entail monitoring dutyholders’ actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety, security and nuclear safeguards. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine rated inspections of the Capenhurst site covered:

Emergency preparedness, including the provision of emergency equipment at the Tails Management Facility (TMF).

A Systems Based Inspection at an enrichment facility to monitor the licensee’s implementation of a new safety case.

An inspection of an enrichment facility scheduled to return to service at the end of the calendar year, to seek assurances the licensee is ready to commence active commissioning.

Nuclear safeguards arrangements at the TMF.

Operational technology cyber security arrangements.

Leadership and management for security.

Security culture.

Personnel security.

## Other work

ONR continued to conduct regular engagements with Urenco UK Ltd. (UUK) as they resolve the regulatory issue requiring them to develop and implement a safety improvement strategy/plan for the Capenhurst site.

ONR also continued to engage with UUK on their plans for the development of a new facility to produce high assay low enriched uranium (HALEU).

Site inspectors hold periodic meetings with safety representatives to support their function of representing employees and receiving information on matters affecting their health, safety, and welfare at work. ONR’s nominated inspector for the Capenhurst site conducted two of these meetings, on 14 August, and 17 November 2025.

Consistent with ONR’s approach to open and transparent regulation and public engagement, the nominated inspector for the Capenhurst site attended a Parish Council meeting held on 2 September 2025. The meeting is conducted at the Capenhurst site and subsumed within it is a local liaison committee.

ONR’s nominated inspector for the Capenhurst site, supported by ONR specialist inspectors where necessary, continued to conduct meetings to review the site’s progress with delivering a number of agreed improvement activities:

Refurbishment works for the site-wide fire fighting main.

Improving the site’s asset management arrangements.

Modifications to UUK’s approach to addressing trace heating protection system faults and failures in one of its uranium enrichment facilities.

Implementation of longer-term safety improvements to cranes and hot oil systems in one of UUK’s uranium enrichment facilities which returned to service in February 2025.

Fire safety shortfalls at one of the site’s uranium enrichment facilities, including UUK’s future operational plans for the facility.

Improving the site’s arrangements to comply with the Pressure Systems Safety Regulations 2000 (PSSR).

Consistent with ONR’s approach to enabling and outcome focussed regulation, ONR conducted a regulatory advice and guidance session with the Capenhurst site on 15 October 2025 on compliance with the Construction (Design and Management) Regulations 2015 (CDM). Considering the site’s expansion and modernisation plans and the resultant shift in hazard/risk profile towards conventional/construction health and safety, ONR has established routine quarterly engagements with the site on CDM.

ONR continued to engage with UUK and other dutyholders on the site about various expansion/modernisation projects, including:

UUK’s future plans to enrich uranium beyond current levels, known as the Low Enriched Uranium Plus (LEU+) Project. ONR has set a regulatory hold-point and during the reporting period, commenced work to consider its release.

Plans for Urenco ChemPlants Ltd. (UCP), the tenant on the UUK licensed site which operates the TMF, to expand this facility, including the requirement to re-licence the site.

The introduction of hydrogen and installation of the necessary infrastructure at the TMF.

Under the Radiation (Emergency Preparedness and Public Information) Regulations 2019 (REPPIR), UUK (and other dutyholders) are required to test (exercise) their emergency response plans on a three-yearly basis. Throughout the reporting period ONR has continued to engage with UUK (and other stakeholders) on planning the next demonstration exercise.

Following the issue of an enforcement letter in the latter half of 2024 seeking improvements in UCP’s approach to undertaking radiation risk assessments, ONR has continued to engage with the dutyholder on this matter and has concluded UCP has satisfactorily addressed the shortfalls which led to the Enforcement Letter being issued.

ONR continued to engage with UCP on follow-up items identified during the COMAH Competent Authority’s 5-yearly review of the Safety Report, as required under the COMAH Regulations 2015.

# Non-routine matters

Licensees and other dutyholders are required to have arrangements in place to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s/dutyholder’s response, including actions taken to implement any necessary improvements.

There were no matters and events of particular note reported to ONR during this period.

Throughout this period ONR has continued to progress two of its own investigations:

An investigation into an incident which occurred at the TMF on 5 February 2024 involving a container of uranium powder. ONR considers there was no risk to the public as a result of the event. The investigation has reached the final stage.

Investigating a lifting incident which occurred on 17 March 2025 at a facility on the Capenhurst site operated by a tenant, Urenco Nuclear Stewardship Ltd. (UNS). This was a conventional health and safety incident which resulted in a worker sustaining a serious finger injury.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

No enforcement notices or enforcement letters were issued during this period.

ONR released a regulatory hold-point enabling the licensee to commence active commissioning of one of its uranium enrichement facilities in preparation for it returning to service. ONR judged the licensee had satisfactorily addressed an extant regulatory issue pertaining to fire safety shortfalls at the facility.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.