ONR site report EDF Nuclear Generation Ltd – Hinkley Point B

ONR site report

EDF Nuclear Generation Ltd - Hinkley Point B

Report for period: 1 January – 30 June 2026

Authored by: Nominated Site Inspector

Approved by: Head of Regulation

Issue: 1

Published: July 2026

Record reference: OPFD-2136780860-65091

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Site Stakeholder Group and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Site Stakeholder Group meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

# Inspections

## Date(s) of inspection

- Our site inspectors made inspections on the following dates during the report period 1 January – 30 June 2026:

5 & 22 January 2026

10 March 2026

28 April 2026

6, 13, 20, 21 & 27 May 2026

11, 15 & 16 June 2026

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74);

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99); and

The Nuclear Industries Security Regulations 2003 (as amended).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Hinkley Point B covered the following:

- radioactive waste management

- decommissioning

- conventional (non-nuclear) health and safety

- security

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

ONR confirmed on the 12 January 2026, that it has completed its planned compliance inspection activities relating to fuel free verification for Hinkley Point B and based on the evidence sampled it accepts EDF’s statement that the station is free of all fuel. Following this acceptance of fuel free verification the station moved from the governance of ONR’s Operating Reactors sub-directorate to the Decommissioning, Fuel and Waste (DFW) sub-directorate and a DFW inspector was appointed as the nominated site inspector.

ONR also confirmed on 9 February 2026 that is was content for EDF Hinkley Point B to implement its Post-Defueling Safety Case in place of the previous Operational Safety Case and approved its revised Emergency Arrangements on the 6 March 2026 under Licence Condition 11.

The current focus now at Hinkley Point B is the transition from EDF to NRS with the relicensing planned for 1 October 2026. DFW has appointed a Transition Project Officer, the Officer who lead the Hunterston B transition, as well as a nominated site inspector. The usual compliance inspections of EDF arrangements at Hinkley Point B have been paused and a series of themed readiness engagements are currently underway. This includes: Emergency Arrangements, Radioactive Waste Management, Construction (Design and Management) Regulations 2015 and Decommissioning to ensure the station is ready to transition to NRS arrangements at the point of relicensing. DFW inspectors have made frequent visits to the site during this period to familiarise and gain regulatory intelligence about the site.

The nominated site inspector attended the newly formed Hinkley Point A and Hinkley Point B Quarterly Regulator Interface Meeting on the 22 April 2026 to discuss issues, events and project milestone updates at the sites. The overall site performance for Hinkley Point B remains adequate and no new significant issues were identified.

The nominated site inspector held regular meetings with the Station Director and weekly keep-in-touch meetings with the operational staff on site. During these meetings they discussed regulatory issues, site incidents, future permissioning and progress with significant decommissioning milestone delivery.

The nominated site inspector held a periodic meeting with safety representatives, to support their function of representing employees and receiving information on matters affecting their health, safety and welfare at work.

The Head of Regulation for the Decommissioning, Fuel and Waste ONR sub-directorate visited the site with the nominated site inspector on the 11 June 2026.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

There were no such matters or events of significance during the period.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 6/3/2026 | Approval | ONRW-2019369590-22090 | Approval of the Hinkley Point B Nuclear Power Station Post Fuel Free Verification Emergency Plan under LC11(3). |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.