ONR site report Urenco UK Ltd. (UUK) – Capenhurst Site

ONR site report

Urenco UK Ltd. (UUK) - Capenhurst Site

Report for period: 1 January – 30 June 2026

Authored by: Nominated Site Inspector

Approved by: DFW Head of Safety Regulation

Issue: 1

Published: August 2026

Record reference: SDFW-513672700-53468

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Capenhurst Site Stakeholder Group (Parish Council Meeting) and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend Capenhurst Site Stakeholder Group (Parish Council) meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	8

4.	Regulatory activity	9

5.	News from ONR	10

6.	Contacts	10

# Inspections

## Date(s) of inspection

ONR undertook rated inspections on the following dates during the report period 1 January – 30 June 2026:

15 January;

20 January;

23 March;

9 April;

20 April;

21 May;

23 June.

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA1965) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA1974); and

regulations made under HSWA1974, for example, the Ionising Radiations Regulations 2017 (IRR2017), the Management of Health and Safety at Work Regulations 1999 (MHSWR1999) and the Control of Major Accident Hazards Regulations 2015 (COMAH).

regulations made under the Energy Act 2013, for example the Nuclear Industries Security Regulations 2003 and the Nuclear Safeguards (EU Exit) Regulations 2019.

The inspections entail monitoring dutyholders’ actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety, security and nuclear safeguards. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine rated inspections of the Capenhurst site covered:

Emergency preparedness, to test on-site response in support of an off-site exercise (Exercise Kauri).

An inspection of an enrichment facility to seek assurance that the dutyholder was ready to commence a trial to enrich uranium 235 up to a maximum of 7.5% (known as the LEU+ project).

Compliance with arrangements for hydrofluoric acid loading and storage at the Tails Management Facility (TMF).

Compliance with arrangements for the periodic review of safety cases.

Nuclear material accountancy, control and safeguards corporate structure, training and resilience.

Supply chain security.

Personnel security.

## Other work

We continued to conduct regular engagements with Urenco UK Ltd. (UUK) as they resolve the regulatory issue requiring them to develop and implement a safety improvement strategy/plan for the Capenhurst site.

We also continued to engage with UUK on their plans for the development of a new facility to produce high assay low enriched uranium (HALEU).

Site inspectors hold periodic meetings with safety representatives to support their function of representing employees and receiving information on matters affecting their health, safety, and welfare at work.  Our nominated inspector for the Capenhurst site conducted a meeting on 9 April 2026.

Consistent with  our approach to open and transparent regulation and public engagement, the nominated inspector for the Capenhurst site attended a Parish Council meeting held on 3 March 2026. The meeting is conducted at the Capenhurst site and subsumed within it is a local liaison committee.

Our nominated inspector for the Capenhurst site, supported by other ONR specialist inspectors where necessary, continued to conduct meetings to review the site’s progress with delivering a number of agreed improvement activities:

Refurbishment works for the site-wide fire main.

Improving the site’s asset management arrangements.

Modifications to UUK’s approach to addressing trace heating protection system faults and failures in one of its uranium enrichment facilities.

Implementation of longer-term safety improvements to cranes and hot oil systems in one of UUK’s uranium enrichment facilities, which returned to service in February 2025.

Implementation of longer-term safety improvements to cranes, hot oil systems, scrubber, gaseous effluent system and fire safety in one of UUK’s uranium enrichment facilities, which returned to service in December 2025.

Improving the site’s arrangements to comply with the Pressure Systems Safety Regulations 2000 (PSSR).

Improving the site’s arrangements for human factors assessent, for both plant modifications and for the design of new facilities.

Improving the site’s arrangements for intelligent customer oversight and contractor/tenant oversight.

Improvements to emergency preparedness and response arrangements and practices.

Close-out of actions arising from the COMAH Competent Authority’s technical assessment of the most recent 5-yearly COMAH safety report for the Tails Management Facility (TMF) .

Considering the site’s expansion and modernisation plans and the resultant shift in hazard/risk profile towards conventional/construction health and safety,  we have established routine quarterly engagements with the site on compliance with the Construction (Design and Management) Regulations 2015 (CDM).

We continued to engage with UUK and other dutyholders on the site about various expansion/modernisation projects, including:

Plans for Urenco ChemPlants Ltd. (UCP), the tenant on the UUK licensed site which operates the TMF, to expand this facility, including the requirement to re-licence the site; and

The introduction of hydrogen and installation of the necessary infrastructure at the TMF.

Under the Radiation (Emergency Preparedness and Public Information) Regulations 2019 (REPPIR), UUK (and other dutyholders) are required to test (exercise) their emergency response plans on a three-yearly basis. The last demonstration exercise took place in January 2026 (Exercise Kauri) and was observed by ONR inspectors. We  have continued to engage with UUK (and other stakeholders) on the actions and learning arising from this exercise.

# Non-routine matters

Licensees and other dutyholders are required to have arrangements in place to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s/dutyholders’ response, including actions taken to implement any necessary improvements.

There were no matters and events of particular note reported to ONR during this period.

We have  concluded our  investigation into an incident which occurred at the TMF on 5 February 2024, involving a container of uranium powder.  We consider there was no risk to the public as a result of the event. The investigation resulted in a decision to bring prosecutions against a tenant and permanent contractor.

Prosecution of Babcock Critical Services Limited and Urenco ChemPlants Limited - court proceedings update | Office for Nuclear Regulation

Throughout this period, we have also continued to investigate a lifting incident, which occurred on 17 March 2025, at a facility on the Capenhurst site operated by a tenant, Urenco Nuclear Stewardship Ltd. (UNS). This was a conventional health and safety incident which resulted in a worker sustaining a serious finger injury. The investigation has now reached its final stage. Further details regarding the outcome will be communicated once the investigation has concluded in full.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 27/02/26 | Enforcement letter | EL-2437 | Shortfalls in Urenco UK Ltd.’s organisational capacity and capability |

In advance of significant permissioning points, ONR will continue to apply flexible permissioning to allow the start of a number of activities.

In this period, ONR released the flexible permissioning hold point that allowed the licensee to commence a trial to enrich uranium 235 up to a maximum of 7.5% (LEU+ project).

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.