ONR site report AWE Plc – Nuclear Security Technologies

ONR site report

AWE Plc – Nuclear Security Technologies

Report for period: 1 April 2026 to 30 September 2026

Authored by: AWE – Defence Weapons Nominated Site Inspector

Approved by: Head of Regulation – Defence Weapons

Issue: 1

Published: September 2026

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the AWE Local Liaison Committee and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend AWE Local Liaison Committee meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	6

4.	Regulatory activity	7

5.	News from ONR	8

6.	Contacts	8

References	8

# Inspections

## Date(s) of inspection

Our site inspectors undertook inspections on the following dates during the reporting period 1 April 2026 to 30 September 2026:

15 & 16 April 2026

9 June 2026

8, 15 & 16 July 2026

16 September 2026

# Routine matters

2.1 Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

the conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

the Energy Act 2013;

the Health and Safety at Work etc Act 1974 (HSWA74); and

regulations made under HSWA74, for example the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections covered the following:

periodic review of safety;

examination, inspection maintenance and testing;

emergency preparedness;

ionising radiation regulations;

control of substances hazardous to health;

explosive regulations;

control of major accident hazards regulations;

control of modifications of designs under construction;

intelligent customer and supply chain;

asbestos regulations.

## Members of the public who would like further information on our inspection activities

## during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

The nominated site inspector attended a LLC meeting on 30 April 2026

Our site inspectors continue to hold periodic meetings with the safety representatives within their operational areas, to support their function of representing employees and receiving information on matters affecting their health, safety, and welfare at work. In this reporting period the safety representatives for Prospect’s made ONR aware that they entered collective consultation with AWE on the ongoing Organisational Design changes. ONR will continue to liaison with the relevant safety representatives during this period of change.

AWE have completed the Assembly Technology Centre Periodic Review of Safety (ATC PRS). This is undertaken every 10 years to provide justification for continued safe operations at the facility. ONR has undertaken a review of the ATC PRS to assess the adequacy of the justification that the risks are as low as reasonably practicable for ongoing operations at the facility and are content that the ATC PRS is adequate.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

Events of significant note during the period were:

ONR’s investigation into the Hub Construction Enclave fatality has concluded. Balfour Beatty Group Limited pleaded not guilty to two charges under the Health and Safety at Work etc. Act 1974 relating to worker and public safety risks arising from construction work. Following a hearing in April 2026, a trial date has been set for 22 May 2028.

In its response to the Nuclear Regulatory Taskforce report, the Government accepted all 47 recommendations. ONR continues to collaborate closely with Government, industry and other regulators to facilitate their implementation across a range of areas within the nuclear sector (Link to Fingleton report: Building our nuclear nation: government response to the Nuclear Regulatory Review 2025 (accessible webpage) - GOV.UK).

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

1 License instrument was issued in this reporting period

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| June 2026 | License Instrument | PR-02321 | Approval of changes to LC11 Site Emergency Plans for Atomic Weapons Establishment |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.

# References

There are no sources in the current document.