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Foreword
This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Sizewell SSG and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.


Our site inspectors usually attend Sizewell SSG meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.
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[bookmark: _Toc109727646][bookmark: _Toc180135448]Inspections
[bookmark: _Toc109727647]Date(s) of inspection
The ONR site inspector made visits on the following dates during the report 
[bookmark: _Hlk217976520]period 1 July – 30 September 2026:
There were no formal inspections made during the period by the ONR site inspector. However, as part of the handover of duties and site familiarisation, the ONR site inspector attended site on:
14 – 16 July and 8 – 10 September 2026.
ONR specialist inspectors undertook an inspection on the following dates during the 
report period:
26 – 27 August 2026
[bookmark: _Toc95889183][bookmark: _Toc180135449]Routine matters
Inspections 
Inspections are undertaken as part of the process for monitoring compliance with: 
The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended); 
The Energy Act 2013;
The Health and Safety at Work etc Act 1974 (HSWA74); and 
Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).
The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.
In this period, the specialist inspection covered: 
DSEAR and EX Ignition Source Controls Compliance Inspection covering:
The Dangerous Substances and Explosive Atmosphere Regulations (DSEAR) 2012;
The Control of Major Accident Hazard Regulations (COMAH) 2015;
Examination, inspection, maintenance and testing.

DSEAR and EX Ignition Source Controls Compliance Inspection
The inspection identified that risk assessments for DSEAR and COMAH have been completed with the exception of one area (Hydrogen for COMAH).To address this, advice has been given and regulatory issues have been raised. Further engagement is planned as the inspection found that internal hazards risk assessments lacked detail.
Relevant roles and responsibilities were sampled and inspectors judged there to be appropriate management of competence; related equipment was deemed to be available, with examination, inspection, maintenance and testing complete and showing no visual signs of degradation. 
Overall the inspection was rated Green.
Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.
Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.
Other work
 There is no other work to report. 
[bookmark: _Toc95889184][bookmark: _Toc180135450]Non-routine matters
Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements. 
There were no such matters or events of significance during the period.
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[bookmark: _Toc95889185][bookmark: _Toc180135451]Regulatory activity
We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an Enforcement Notice. 
One licence instrument was issued during the period 1 July – 30 September 2026:
Licence Instrument 564 issued under Licence Condition 30(3), a Consent to start up.

Reports detailing regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

[bookmark: _Toc95889186][bookmark: _Toc180135452]News from ONR
For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at ONR - Email newsletter - 'ONR News'

[bookmark: _Toc95889187][bookmark: _Toc180135453]Contacts
Office for Nuclear Regulation
Redgrave Court
Merton Road
Bootle
Merseyside
L20 7HS
Website: www.onr.org.uk
Email: contact@onr.gov.uk
This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk. 
If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright blocked::blocked::BLOCKED::http://www.hse.gov.uk/copyrightfor details. 
For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.
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