ONR site report EDF Nuclear Generation Ltd – Torness Nuclear Power Plant

ONR site report

EDF Nuclear Generation Ltd - Torness Nuclear Power Plant

Report for period: 1 January – 31 March 2026

Authored by: Torness Nominated Site Inspector

Approved by: Head of Regulation - Operating Reactors

Issue: 1

Published: Oct 2026

Record reference: OPFD-2136780860-65651

Foreword

This report is issued as part of our commitment to make information about inspection and regulatory activities relating to the above site available to the public. Reports are distributed to members for the Torness Site Stakeholder Group and are also available on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/llcssg-reports.

Our site inspectors usually attend meetings where these reports are presented and will respond to any questions raised there. Any person wishing to inquire about matters covered by this report should contact us via email at contact@onr.gov.uk.

Contents

1.	Inspections	4

2.	Routine matters	5

3.	Non-routine matters	7

4.	Regulatory activity	8

5.	News from ONR	9

6.	Contacts	9

References	10

# Inspections

## Date(s) of inspection

Our site inspector made inspections on the following dates during the report period 1 January – 31 March 2026:

2 February – 6 February

17 February – 18 February

24 February – 25 February

3 March – 4 March

12 March – 13 March

# Routine matters

## Inspections

Inspections are undertaken as part of the process for monitoring compliance with:

The conditions attached by ONR to the nuclear site licence granted under the Nuclear Installations Act 1965 (NIA65) (as amended);

The Energy Act 2013;

The Health and Safety at Work etc Act 1974 (HSWA74); and

Regulations made under HSWA74, for example, the Ionising Radiations Regulations 2017 (IRR17) and the Management of Health and Safety at Work Regulations 1999 (MHSWR99).

The inspections entail monitoring the licensee’s actions on the site in relation to incidents, operations, maintenance, projects, modifications, safety case changes and any other matters that may affect safety. The licensee is required to make and implement adequate arrangements under the conditions attached to the licence in order to ensure legal compliance. Inspections seek to judge both the adequacy of these arrangements and their implementation.

In this period, routine inspections of Torness covered the following:

examination, maintenance, inspection and testing of Control and Instrumentation and Steels structural Integrity;

quality assurance and records;

conventional (non-nuclear) health and safety, including Construction (Design and Management) Regulations 2015;

security

Members of the public who would like further information on our inspection activities during the reporting period can view site inspection records on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/inspection-records.

Should you have any queries regarding our inspection activities, please email contact@onr.gov.uk.

## Other work

In this period, other routine matters at Torness covered the following areas:

outage and start-up meeting for Reactor 2;

meeting with safety representatives;

attendance at site stakeholder meeting;

daily plant status and communication with station;

oversight of graphite inspection data.

# Non-routine matters

Licensees are required to have arrangements to respond to non-routine matters and events. Our inspectors judge the adequacy of the licensee’s response, including actions taken to implement any necessary improvements.

Matters and events of particular note during the period were:

Two reports related to Dangerous Occurrence (DO) as specified under the Reporting of Injuries, Diseases and Dangerous Occurrences Regulations (RIDDOR) and one report of injury. All reports were appropriately addressed by the dutyholder.

Three Safety Case Anomalies reported. The site entered the safety case anomalies process (SCAP) and this was dealt with in accordance with their arrangements, which were deemed to be adequate, however we are maintaining oversight. All safety cases should be free of significant error and represent the current plant position, as understood either by inspections or supporting calculations.

# Regulatory activity

We may issue formal documents to ensure compliance with regulatory requirements. Under nuclear site licence conditions, we issue regulatory documents, which either permit an activity or require some form of action to be taken. These are usually collectively termed licence instruments but can take other forms. In addition, inspectors may take a range of enforcement actions, to include issuing an enforcement notice.

The following licence instruments, enforcement notices and enforcement letters have been issued during the period:

Table 1: Licence instruments and enforcement notices issued by ONR during this period

| Date | Type | Reference | Description |
| --- | --- | --- | --- |
| 03/03/2026 | Enforcement Letter | ENF01035 | Work at Height Regulations 2005 – Dropped Object Near Miss |

Reports detailing the above regulatory decisions can be found on our website: www.onr.org.uk/publications/regulatory-reports/site-specific-reports/project-assessment-reports.

# News from ONR

For the latest updates and information on our work, please subscribe to our regular email newsletter, ONR News, at www.onr.org.uk/news/newsletter.

# Contacts

Office for Nuclear Regulation

Redgrave Court

Merton Road

Bootle

Merseyside

L20 7HS

Website: www.onr.org.uk

Email: contact@onr.gov.uk

This document is issued by ONR. For further information about us, or to report inconsistencies or inaccuracies in this publication, please email contact@onr.gov.uk.

If you wish to reuse this information, please visit www.onr.org.uk/access-to-information/copyright for details.

For published documents, the electronic copy on our website remains the most current publicly available version and copying or printing renders this document uncontrolled.

# References

There are no sources in the current document.